## SOP
Weatherization Assessment Checklist
Date of Inspection: |  |  |  | Assessor Name:
[5 empty] | Complete | N/A | Initials
Step 1) | Schedule the home assessment appointment
• Allot approximately (2-4) Hours for Assessment
Note: Assessment time frame may vary depending on house characteristic(s)
Step 2) | Arrive at home |  |  |  | Complete | N/A | Initials
• Introduce team, Explain WAP Scope
| ○ | I.E WAP Assessment, Work Determination, Contractor Work, Final Inspection, etc.
•Verify all Animal(s) are safely put away
•Ensure client grants access to entire home.
• Advise client to place all fragile, antique, and other valuable items are stored away
Step 3) | Preliminary Assessment- Walk through |  |  |  | Complete | N/A | Initials
• Take pictures of all exterior walls of home for THC & unit identification
• Conduct visual walkthrough of outside & inside of clients home
| ○ | Identify any potential issues that could prevent rendering service(s) on home or need addressed
•Verify if there any signs of previous weatherization within the last 15 year rolling date?
• Complete H&S Client Questionnaire form & Identify any issues or hazards
•Determine if home is "beyond the scope"
| ○ | OR if home was previously weatherized or needs to be deferred until issues are remedied
Step 4) | Team performs all diagnostic testing |  |  |  | Complete | N/A | Initials
•Install refrigerator meter (120 min)
| ○ | Document reading with a picture of result(s) to support input(s)
| • Blower Door Testing |  |  |  | Complete | N/A | Initials
| ○ | Ensure home is in natural conditions & equipment setup
|  | ◘ | Note: If unsure see CAZ sheet for natural condition(s)
| ○ | Run Blower Door @50 Pa
| ○ | Document Blower Door reading with a picture of result(s) to support input(s)
|  | ◘ | Input reading into Blower Door Duct Blaster Data Sheet
| ○ | Perform Pressure Pan test, document results, if duct system is present
|  | ◘ | Input reading into Blower Door Duct Blaster Data Sheet
| ○ | Perform ZPD's to Identify leakage area(s)
|  | ◘ | Attic
|  | ◘ | Floor (If applicable)
|  | ◘ | CAZ zones (if applicable)
| ○ | Document ZPD reading(s) with a picture of result(s) to support input(s)
| •Duct Blaster Testing |  |  |  | Complete | N/A | Initials
| ○ | Ensure all registers are sealed with tape or vent caps & equipment set up
| ○ | Perform Total Leakage & Leakge to outside @25 pa (WRTO)
|  | ◘ | Input reading(s) into Blower Door Duct Blaster Data Sheet
| ○ | Document reading(s) with a picture of result(s) to support input(s)
| •ASHRAE Testing |  |  |  | Complete | N/A | Initials
| ○ | Bathroom Exhaust fan(s), if applicable
|  | ◘ | Document reading with a picture of result(s) to support input(s)
| ○ | Kitchen Exhaust fan(s), if applicable
|  | ◘ | Document reading with a picture of result(s) to support input(s)
| ○ | Ensure all required ASHRAE data is captured
|  | ◘ | i.e number of room(s), occupant(s), operable window(s), venting is terminated to exterior
| •Duct Operating Pressure Test(s) |  |  |  | Complete | N/A | Initials
| ○ | Supply Pressure
|  | ◘ | Document reading with a picture of result(s) to support input(s)
| ○ | Return Pressure
|  | ◘ | Document reading with a picture of result(s) to support input(s)
| ○ | Note: Ensure static pressure probe is facing airflow
| •CAZ Testing, (if applicable) |  |  |  | Complete | N/A | Initials
| ○ | Verify Ambient CO and LEL Level(s)
| ○ | Worst Case Depressurization
| ○ | Draft Test
| ○ | Spillage Test
|  | ◘ | Note: Document results with picture(s) for future liability issue(s)
| •Combustion Safety and Efficiency Testing, (if applicable) |  |  |  | Complete | N/A | Initials
| ○ | Verify Ambient CO and LEL Level(s)
| ○ | Verify exposed gas piping for leaks with gas sniffer for all appliance(s)
| ○ | Conduct & Record Combustible readings for all gas appliance(s)
|  | ◘ | Verify CO/CO Air Free results are within acceptable limit(s)
| ○ | Document reading(s) with printout of result(s) to support input(s)
•Water Heater Temperature Reading
| ○ | Document reading(s) with a picture of result(s) to support input(s)
|  | ◘ | Verify results are 120 degrees or lower
•Furnace Heat Rise Test
|  | ◘ | Document Furnance data plate range with a picture to support testing result(s)
| ○ | Document temp. reading(s) with a picture of result(s) to support input(s)
•Oven (CO)
| ○ | Remove item(s) from oven set temperature until steady state
|  | ◘ | Verify CO As measured results are within acceptable limit(s)
| ○ | Document reading(s) with a picture of result(s) to support input(s)
•Stovetop Burners (CO)
| ○ | Inspect stovetop burners for flame quality
|  | ◘ | Verify CO As measured results are within acceptable limit(s)
| ○ | Document reading(s) with a picture of result(s) to support input(s)
Step 5a) | NEAT/MHEA Whole House Assessment Form(s) & WAP Support Form(s) data collection |  |  |  | Complete | N/A | Initials
•House foot print (measure walls, windows, doors, ceiling height, determine sq. ft.)
| ○ | Ensure all Wall(s), Window(s), Door(s), etc. are labeled as defined within assessment form
| ○ | Ensure all heating, air conditioning, attic hatch, water heater, etc. are included
| ○ | Note porches, attached garage(s), etc. are defined on drawing.
| ○ | Ensure perimeter measurements reconcile within assessment form
|  | ◘ | Example: Ensure All East & West measurements are equal.
•Ensure all necessary pictures support inputs on Whole House Assessment Form (in order)
| ○ | Wall(s)
| ○ | Window(s)
| ○ | Door(s)
| ○ | Attic(s)
| ○ | Foundation(s)
| ○ | Heating
| ○ | Cooling
| ○ | A.I.
| ○ | Duct Sealing
| ○ | Baseload(s)
| ○ | Health & Safety
| ○ | Repair(s)
•Ensure all WAP Support Form(s) are complete and accurate
Step 5b) | WAP Client Signature Form(s) |  |  |  | Complete |  | Initials
•Ensure all client signature form(s) are complete (as applicable)
•Ensure all client signature form(s) are signed off by client & WAP staff
Step 6) | Quality Control |  |  |  | Complete |  | Initials
•Review pictures and verify no conflicting information with current inputs
•Review WAP Support & Client Signature Form(s) for conflicting information with current input(s)
•Review WAP Assessent form documentation for conflicting information with current input(s)